- BP-10 96-Well Spin Column Plate Total RNA Minipreps Kit

RMIP-96-1 and RMIP-96-2

Version 2.0

Table of Content

Introduction					  p2

Storage					  p3

Principle				              p4

Features                                                          p4

Procedures                                                     p5-8

- Animal Cells

- Bacteria

- Tissue, Plant Cells and Filamentous Fungi

- RNA Cleanup

- BP-10 96-Well Spin Column Plate Total RNA Minipreps Kit

| Components | RMIP-96-1 5 Plates | RMIP-96-2 10 Plates |
| --- | --- | --- |
| RLT Solution(a) RW Solution RPE Solution(b) DEPC-Water EZ-10 96 Well Plate Deep Well Collection Plate 96 Storage Plate Sealing Film | 300 ml 300 ml 2x60 ml 30 ml 5 10 5 20 | 2X300 ml 2X300 ml 4x60 ml 60 ml 10 20 10 40 |

- RLT Solution should be kept at 2-8OC after receiving and using.

- Before use, add 240 ml of 96-100% of ethanol to 60 ml RPE Solution. For other volumes of RPE Solution, simply add enough ethanol to make a 4:1 ratio (volume of added ethanol: volume of RPE Solution = 4:1).

Storage:

The kit is stable for 12 months at room temperature. For longer storage, keep all contents cold.

Principle:

The BP-10 96-well format kit is designed for automated high-throughput isolation of total RNA from bacteria, viruses, plants and animal tissues. Each well contains an BP-10 Spin Column for binding up to 10 µg of RNA, while other impurities do not bind to the columns and are washed away. Procedure processes by both vacuum-driven and centrifugation. The purified RNA can be used for most of downstream experiments.

NOTE: The centrifugation based purification method has a minimum height requirement of 75 mm for apparatus to hold the assembly of 96 Well Plate  and Deep Well Collection Plate.

NOTE: Care must be taken when working with RNA. It is important to maintain an RNAse-free environment starting with RNA sample preparation and continue through purification and analysis. Use RNAse free tubes, tips, gels. Wear gloves at all times.

Feature:

- Preparation of high quality total RNA from variable sources.

- Rapid and economical. Entire procedure takes about 30 minutes (time for preparation of samples is not included).

- High yield

- No phenol / chloroform extraction or ethanol precipitation needed

Procedure:

The detailed procedures for Isolation of Total RNA from Animal Cells, for Isolation of Total RNA from Bacteria for Isolation of Total RNA from Tissue, Plant Cells and Filamentous Fungi, and for RNA Clean Up are provided with the kit.

Procedures for Isolation of Total RNA from Animal Cells

- Samples Preparation:

A. Harvest cells

- Cells grow in suspension: Determine the number of cells. Spin down the appropriate number of cells for 5 minutes at 2,500 x g (1,200 rpm) in a RNase-free Deep Well Collection Plate. Carefully remove all supernatant by aspiration, and continue with Step 2 of the protocol.

- Cells grown in a monolayer. Determine the number of cells. Cells grown in a monolayer in cell-culture vessels can be trypsinized. Aspirate medium, and wash cells with PBS. Aspirate PBS and add 0.1-0.25% trypsin in PBS. After cells detach from the dish or flask, add medium (containing serum to inactivate the trypsin), transfer cells to RNA-free Deep Well Collection Plate, spin by centrifugation at 2,500 x g (1,200 rpm) for 5 minutes. Completely aspirate supernatant, and continue with Step 2 of the protocol.

Note: Incomplete removal of the cell-culture will inhibit lysis and dilute the lysate, affecting the conditions for binding RNA to BP-10 96-Well Plate. Both effects may reduce RNA yield.

B. Disrupt cells by addition of RLT Solution

- For pelleted cells: Loosen cell pellet by flicking the Deep Well Collection Plate and add RLT Solution

- For monolayer cells: Add RLT Solution to monolayer cells (according to table below). Collect cell lysate with a rubber policeman. Vortex and make sure there is no visible before proceeding to Step 3.

| RLT Solution (l) | Number of pelleted cells | Dish diameter (cm) |
| --- | --- | --- |
| 350 600 | > 5 x 10 6 > 5 x10 6 to 1 x 10 7 | 6 6-10 |

- Homogenize lysate: Two alternative methods may be used.

- Homogenize for 30 seconds using a rotor-stator homogenizer.

- Pass lysate at least 5 times through a 20-G (D=0.9mm) needle fitted to a syringe.

- Add equal volume of 70% ethanol to the homogenized lysate, and mix well by pipetting. Do not centrifuge.

Part I: Centrifugation based method

- Place BP-10 96-Well Plate on top of a 96-Well Deep Well Collection Plate. Transfer above ethanol mixture to each well of BP-10 96-Well Plate. Spin at 4,500 x g (8,000 rpm) for 1 minute.

- Note: precipitate may form after adding ethanol, but this will not affect the procedure.

- Discard flow-through. Add 500 µl RW Solution to the BP-10 96-Well Plate and spin at 4,500 x g (8,000 rpm for 1 minute. Discard flow-through and place BP-10 96-Well Plate back to the same Deep Well Collection Plate.

- Add 500 µl RPE Solution to the BP-10 96-Well Plate, spin at 4,500 x g (8,000 rpm for 1 minute. Discard flow-through and spin once more to remove residue of RPE Solution.

- Transfer BP-10 96-well plate on top of a 96 Well Storage Plate. Add 30-50 µl of RNase-free water onto the center part of the BP-10 96-well Plate, incubate at 500 C for 2 minutes. Spin down at 4,500 x g (8,000 rpm for 1 minute. RNA is ready for use or kept at - 700 C.

Part II: Vacuum based method

(For details, please see Vacuum Manifold SD5011 Product Information)

- Assemble the Vacuum Manifold: place a Waste Tray in the Base, cover it with the Base Cap, and then place an BP-10 96 Well Plate on top. Transfer the above mixture solutions to theBPZ-10 96 Well Plate, and let it stand at room temperature for 2 minutes. Apply vacuum until the solution has passed through.

- Discard the flow-through. Add 500 µl of RW Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- Discard the flow-through. Add 500 µl of RPE Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- After RPE Solution has been drawn through the column, apply maximum vacuum for additional 2 minutes to dry the membrane. If necessary, tap dry the bottom nozzle of BP-10 96 Well Plate on paper towel before elution step.

- For elution, assemble the Vacuum Manifold. This time, place a 96 Well Storage Plate Holder in the Base, and then put the 96 Well Storage Plate on top. Cover with the Base Cap. Place the BP-10 96 Well Spin Column Plate from step 7 on top securely. Mark the orientation appropriately.

- To elute DNA, add 30-50 µl Elution Buffer onto the centre of each well of the BP-10 96 Well Plate; incubate at 50 oC for 2 minutes. Apply vacuum for 1 minute. Switch off vacuum and ventilate vacuum manifold slowly.

- Tightly seal the 96 Well Storage Plate. DNA is ready for use or kept at -20 oC.

- Procedure for Isolation of Total RNA from Bacteria

- Samples Preparation: Harvest the appropriate number of cells (<1109) by centrifugation at 2,500 x g for 3 minutes at 40 C. Discard supernatant ensuring all media is completely removed.

- Add 100l TE containing lysozyme and incubate. Gram-negative bacteria and Gram-positive bacteria require different amount of lysozyme and incubation periods. Invert several times during incubation.

| Bacteria | Concentration of Lysozyme in TE | Incubation Time |
| --- | --- | --- |
| Gram-negative | 400g / ml | 3-5 minutes |
| Gram-positive | 3 mg / ml | - inutes |

Add 350 l of RLT Solution, mix vigorously. If insoluble material is visible, centrifuge for 2 minutes at 4,500 x g (8,000 rpm). Save the supernatant to Deep Well Collection Plate.

- Add 260 l of 100% ethanol to the supernatant, seal the Deep Well Collection Plate, and mix gently. A precipitate may form by adding ethanol, but it will not affect the procedure.

Part I: Centrifugation based method

- Place a BP-10 96-Well Plate to the top of a Deep Well Collection Plate and transfer the mixture to the BP-10 96 Well Plate. Spin at 4,500 x g (8,000 rpm) for 1 minute. Discard flow-through and place the BP-10 96 Well Plate back to the same Deep Well Collection Plate.

- Add 500 l of RW Solution to the BP-10 96 well plate, centrifuge at 4,500 x g (8,000 rpm) for 1 minute, and discard flow-though.

- Add 500 l of RPE Solution and spin at 4,500 x g (8,000 rpm) for 1 minute. Discard the solution in the Deep Well Collection Plate and spin one more time to remove the residue of RPE Solution.

Note: Ensure ethanol is added to RPE Solution before use.

- Place the BP-10 96 Well Plate on top of a 96-Well Storage Plate; add 30-50 l of RNase-free H2O onto the center part of the membrane in the BP-10 96-Well Plate. And incubate at 500C for 2 minutes and spin down at 4,500 x g (8,000 rpm) for 1 minute. Keep RNA sample at -700 C.

Part II: Vacuum based method

(For details, please see Vacuum Manifold SD5011 Product Information)

- Assemble the Vacuum Manifold: place a Waste Tray in the Base, cover it with the Base Cap, and then place an BP-10 96 Well Plate on top. Transfer the above mixture solutions to the BP-10 96 Well Plate, and let it stand at room temperature for 2 minutes. Apply vacuum until the solution has passed through.

- Discard the flow-through. Add 500 µl of RW Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- Discard the flow-through. Add 500 µl of RPE Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- After RPE Solution has been drawn through the column, apply maximum vacuum for additional 2 minutes to dry the membrane. If necessary, tap dry the bottom nozzle of BP-10 96 Well Plate on paper towel before elution step.

- For elution, assemble the Vacuum Manifold. This time, place a 96 Well Storage Plate Holder in the Base, and then put the 96 Well Storage Plate on top. Cover with the Base Cap. Place the BP-10 96 Well Spin Column Plate from step 7 on top securely. Mark the orientation appropriately.

- To elute DNA, add 30-50 µl Elution Buffer onto the centre of each well of the BP-10 96 Well Plate; incubate at 50 oC for 2 minutes. Apply vacuum for 1 minute. Switch off vacuum and ventilate vacuum manifold slowly.

- Tightly seal the 96 Well Storage Plate. DNA is ready for use or kept at -20 oC.

- Procedure for Isolation of Total RNA from Tissue, Plant Cells and Filamentous Fungi

- Samples Preparation: Grind sample in liquid nitrogen to a fine powder using a mortar or pestle. Transfers the mixture of tissue powder and liquid nitrogen to a Deep Well Collection Plate and allow the liquid nitrogen to evaporate. Do not allow the sample to thaw. Continue immediately with Step 2.

- Add 450 µl of RLT Solution to a maximum of 100 mg of tissue powder, seal, and vortex vigorously. Incubation at 500C may help to breakdown the tissue. For samples with high starch content, incubation is avoided to prevent swelling of starch material.

- Add 0.5 ml 100% of ethanol to the mixture (Step 2). Seal the plate and mix gently.

Part I: Centrifugation based method

- Place an BP-10 96 Well Plate to the top of a Deep Well Collection Plate and transfer the mixture to the BP-10 96-Well Plate .Spin at 4,500 x g (8,000 rpm) for 1 minute. Discard flow-through and place the BP-10 96-Well Plate back to the Deep Well Collection Plate.

- Add 500 µl of RW Solution to the BP-10 96-Well Plate, centrifuge at 4,500 x g (8,000 rpm) for 1 minute, and discard flow-though.

- Add 500 µl of RPE Solution to the BP-10 96-Well Plate and spin at 4,500 x g (8,000 rpm) for 1 minute. Discard the solution in the Deep Well Collection Plate and spin one more time to remove the residue of RPE Solution.

Note: Ensure ethanol is added to RPE Solution before use.

- Transfer the BP-10 96-Well Plate to a 96 Storage Plate, add 30-50 µl of RNase-free H2O onto the center part of the membrane in the BP-10 96–Well Plate, and incubate at 500C for 2 minutes and spin down at 4,500 x g (10,000 rpm) for 1 minute. Keep RNA sample at -700 C

Part II: Vacuum based method

(For details, please see Vacuum Manifold BP5011 Product Information)

- Assemble the Vacuum Manifold: place a Waste Tray in the Base, cover it with the Base Cap, and then place an BP-10 96 Well Plate on top. Transfer the above mixture solutions to the BP-10 96 Well Plate, and let it stand at room temperature for 2 minutes. Apply vacuum until the solution has passed through.

- Discard the flow-through. Add 500 µl of RW Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- Discard the flow-through. Add 500 µl of RPE Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- After RPE Solution has been drawn through the column, apply maximum vacuum for additional 2 minutes to dry the membrane. If necessary, tap dry the bottom nozzle of BP-10 96 Well Plate on paper towel before elution step.

- For elution, assemble the Vacuum Manifold. This time, place a 96 Well Storage Plate Holder in the Base, and then put the 96 Well Storage Plate on top. Cover with the Base Cap. Place the BP-10 96 Well Spin Column Plate from step 7 on top securely. Mark the orientation appropriately.

- To elute DNA, add 30-50 µl Elution Buffer onto the centre of each well of the BP-10 96 Well Plate; incubate at 50 oC for 2 minutes. Apply vacuum for 1 minute. Switch off vacuum and ventilate vacuum manifold slowly.

- Tightly seal the 96 Well Storage Plate. DNA is ready for use or kept at -20 oC.

Procedure for RNA Cleanup

This kit can also be used to clean up RNA, which is isolated by different methods or after enzymatic reactions.

- Adjust sample to a volume of 100 µl with RNase-free H2O, add 350 µl of RLT Solution, and mix well. Add 260 µl of 100% of ethanol, mix gently. A precipitate may form by adding ethanol, but this will not affect the procedure.

Part I: Centrifugation based method

- Place a BP-10 96-Well Plate on the top of a 96-Well Deep Plate Collection Plate and transfer the mixture solution (Step 1) to the BP-10 96-Well Plate and spin at 4,500 x g (8,000 rpm) for 1 minute, discard flow-through.

- Add 500 µl RW Solution to the BP-10 96-Well Plate and centrifuge at 4,500 x g (8,000 rpm) for 1 minute. Discard the solution in Deep Well Collection Plate.

- Add 500 µl RPE Solution to the BP-10 96-Well Plate and spin at 4,500 x g (8,000 rpm) for 1 minute, discard the flow-through and spin once more to completely remove the residue of RPE Solution.

- Transfer the BP-10 96-Well Plate to 96 Storage Plate, add 30-50 µl of RNase-free H2O onto the center part of the membrane in the BP-10 96–Well Plate, and incubate at 50OC for 1 minute and spin down at 4,500 x g (8,000 rpm) for 1 minute. Keep RNA sample at -700 C.

Part II: Vacuum based method

(For details, please see Vacuum Manifold BP5011 Product Information)

- Assemble the Vacuum Manifold: place a Waste Tray in the Base, cover it with the Base Cap, and then place a BP-10 96 Well Plate on top. Transfer the above mixture solutions to the BP-10 96 Well Plate, and let it stand at room temperature for 2 minutes. Apply vacuum until the solution has passed through.

- Discard the flow-through. Add 500 µl of RW Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- Discard the flow-through. Add 500 µl of RPE Solution to the BP-10 96 Well Plate. Assemble the Vacuum Manifold as described in Step 4, apply vacuum until buffer has passed through.

- After RPE Solution has been drawn through the column, apply maximum vacuum for additional 2 minutes to dry the membrane. If necessary, tap dry the bottom nozzle of BP-10 96 Well Plate on paper towel before elution step.

- For elution, assemble the Vacuum Manifold. This time, place a 96 Well Storage Plate Holder in the Base, and then put the 96 Well Storage Plate on top. Cover with the Base Cap. Place the BP-10 96 Well Spin Column Plate from step 7 on top securely. Mark the orientation appropriately.

- To elute DNA, add 30-50 µl Elution Buffer onto the centre of each well of the BP-10 96 Well Plate; incubate at 50 oC for 2 minutes. Apply vacuum for 1 minute. Switch off vacuum and ventilate vacuum manifold slowly.

- Tightly seal the 96 Well Storage Plate. DNA is ready for use or kept at -20 oC.

PRODUCTS ARE INTENDED FOR BASIC SCIENTIFIC RESEARCH ONLY!

NOT INTENDED FOR HUMAN OR ANIMAL USE!