96-well Cell Adhesion Assay

(Fibronectin Coated, Fluorometric Assay)

Catalog Number: ECM-1023 100 assays

Storage: Upon arrival store the components at 4°C.

Introduction: Due to its diverse nature and composition, the ECM can serve many functions, such as providing support and anchorage for cells, segregating tissues from one another, and regulating intercellular communication. The ECM regulates a cell's dynamic behavior. In addition, it sequesters a wide range of cellular growth factors, and acts as a local depot for them. Changes in physiological conditions can trigger protease activities that cause local release of such depots. This allows the rapid and local growth factor-mediated activation of cellular functions, without de novo synthesis.

Formation of the extracellular matrix is essential for processes like growth, wound healing and fibrosis. An understanding of ECM structure and composition also helps in comprehending the complex dynamics of tumor invasion and metastasis in cancer biology as metastasis often involves the destruction of extracellular matrix by enzymes such as serine and Threonine proteases and Matrix metalloproteinase.

Biopioneer 96-well Cell Adhesion Microplate Assays are designed for the determination of the relative attachment of adherent cell lines to extracellular matrix proteins such as clooagen I, collagen IV, Firbronectin and vitronectin.

Principle of the assay

BioPioneer 96-well Cell Adhesion Assays are designed for the determination of cell attachment to ECM proteins. After incubation followed by a brief wash step, attached cells are quantified with fluorescent dye. BSA-coated wells serve as a negative control, and poly-L-lysine-coated wells serve as a positive control for general attachment.

Materials Provided

1. Fibronectin Adhesion Plate (Part No. ECM-10113): One 96-well plate containing 72 Bovine Fibronectin coated wells , 8 BSA-coated wells and 8 poly-lysine coated wells  (see layout below)

2. Fluorecent dye Solution(Part #: 10003): 50 ul in an amber vial

3. PBS

Materials Not Supplied

1. Cell culture medium

2. Serum free medium, such as DMEM containing 0.5% BSA, 2 mM CaCl2 and 2 mM MgCl2

4. 1XD PBS

5. 96-well microtiter plate

Assay Template

1          2         3         4          5         6         7          8         9         10       11      12

| A | BSA | BSA | BSA | BSA | BSA | BSA | BSA | BSA | BSA | BSA | BSA | BSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN |
| C | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN |
| D | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN |
| E | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN |
| F | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN |
| G | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN | FN |
| H | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin | Ploy-Lysin |

Reagent Preparation

Prepare the calcein-AM working solution as follows. Warm the calcein-AM solution and the D-PBS to roomtemperature. Dilute the l (calcein-AMcalcein-AM stock solution 1:300 with D-PBS, i.e. add 20  solution) to 6 ml ofD-PBS. This calcein-AM working solution cannot be stored.

Procedures:

1.  Harvest cells and resuspend cells in serum-free medium at cell density between 100,000 and 500,000 cells/ml.

.

2.   Add 100 μl cell suspension into each well.

3.  Incubate in CO2 incubator at 37 oC for 1-2 hours.

4.  After cells have been allowed to adhere, gently wash plate with RT PBS 5 times

to remove non adherent cells.

.

5. Add 100ul of Fluorescent dye into each well and incubate at 37oC for 1 hour.

6. Measure the fluorescence of the samples using a fluorescence plate reader at excitation wavelength approximately 485 nm and emission wavelength approximately 520 nm.

References

Hynes, R.O., et al. 1999. Proc. Natl. Acad. Sci. USA 96, 2588.

Ohashi, T., et al. 1999. Proc. Natl. Acad. Sci USA 96, 2153.

Grande, J.P., et al. 1997. J. Lab. Clin. Med. 130, 476.

Nelson, P.R., et al. 1997. Vasc. Surg. 26, 104.

Horowitz, A.F., et al. 1996. Trends Cell Biol. 6, 460.

Hynes, R.O., et al. 1990. Fibronectins, Springer-Verlag, New York.

Preissner, K.T., et al. 1990. J. Biol. Chem. 265, 18490.