FlashPrimeTM High Fidelity DNA Polymerase

Catalog Number

MHF-1, 2U/ul, 250U

MHF-2, 2U/ul  500U

Concentration: 2U/ul

Unit definition: One unit is defined as the amount of enzyme that incorporates 10nmoles of dNTPs into acid-insoluble form in 30 minutes at 72°C.

FlashPrimeTM Storage Buffer: 10mM Tris-HCl, pH 8.0, 100mM KCl, 0.1mM EDTA, 1mM DTT,

glycerol and stabilizers

Description

FlashPrime is a fast, proofreading DNA polymerase from archaeal origin which generates blunt-ended amplicons. Its high thermostability combined with its 5’-3’ DNA polymerase and 3’-5’ proofreading exonuclease activities makes FlashPrime an ideal enzyme for all PCR applications. IFlashPrime possesses an error-rate of 4.4 x 10-7, providing a 50-fold higher fidelity than Thermus aquaticus DNA polymerase (determined using an adapted rpsL fidelity assay, Mo J.Y. et al., J. Mol. Biol. 1991; Fujii. S. et al., J. Mol. Biol. 1999). Inaddition, owing to its enhanced processivity, FlashPrime exhibits not only high amplification rates up to 67 bp/s (equivalent to 15s/kb), but also results in higher yields than most commercially available enzymes.

Components:

Product Name                                                              250Units                          500UnitsProduct

FlashPrime Hi-Fi DNA Pol.                                          125ul                                250ule 250 Units 500

5x HI-Fi Buffer (contains 10mM Mg2+)                        2 x 1.5ml                          4 x 1.5ml

50mM MgCl2 Solution                                                  1 x 1.2ml                          1 x 1.2ml

DMSO                                                                           1 x 1.25ml                       1 x 1.25ml

General Considerations and Optimization

The optimal conditions will vary from reaction to reaction and are dependent on the system used. Each parameter has to be adjusted individually and some optimization may be required.

dNTP:

For optimal results we recommend using Bioline ultra pure dNTPs in a balanced mix. We recommend a final concentration of 250μM each. Do not use dUTP or dITP

Mg2+:

The optimal Mg2+ concentration depends on the dNTP concentration used. Since a 1:2 ratio (dNTP:Mg2+) is usually optimal, we recommend a final Mg2+ concentration of 2mM, but some optimization may be necessary, especially if using dNTP concentration higher than the recommended one. Indeed, a non-optimal concentration of Mg2+ leads to inefficient dNTP incorporation by the DNA polymerase. Since Mg2+ is also able to bind to DNA, an excess of Mg2+ in the reaction will promote secondary structure elements and increase non-specific primer binding leading to non-specific products. Alternatively, too low a concentration will decrease the reaction yield.

Please note that the reaction buffer already provides 2mM Mg2+ (final concentration).

Enzyme:

We recommend a range of 0.25–2.0 Units of FlashPrime in a 50μl reaction. We suggest to start with the lowest concentration and not to exceed 2u/50μl.

Buffers and DMSO:

The default buffer is 5x Hi-Fi Buffer and has been designed to give high yield and fidelity for the majority of standard templates, however we would recommend the addition of 3% DMSO (final concentration) for optimal performance. For difficult templates such as genomic DNA or those possessing high-GC -content or complex structural organisation, a higher concentration of DMSO could be advantageous. We would recommend doing a titration up to 10% DMSO, however in this case the annealing temperature should be reduced since DMSO decreases the melting point of primers by up to 5°C.

Primers:

Forward and reverse primers are generally used at the final concentration of 0.2-0.6μM each. We recommend as a starting point, to use 0.4μM final concentration (i.e. 20pmol of each primer per 50μl reaction volume). Too high primer concentration can reduce the specificity of the priming, resulting in non-specific products.

Template:

The amount of template in the reaction depends mainly on the type of DNA used. For templates with low secondary structural complexity such as plasmid DNA or λ Genomic DNA, we recommend using 50pg-10ng DNA per 50μl reaction volume. For templates >5kb and genomic DNA we recommend a starting amount of 200ng DNA per 50μl reaction, this can be varied between 5ng-500ng. Furthermore, it is important to avoid, where possible, using template re-suspended in EDTA-containing solution (e.g. TE buffer) since EDTA chelates free Mg2+. Initial denaturation: This step is important to completely denature the template in order to allow primers to bind specifically to the single stranded DNA. We recommend performing the initial denaturation at 98°C for 2 min. Although these conditions will be enough for most of the templates, it is possible to increase the initial denaturation time to up to 5 min for very complex templates such as chromatin.

Annealing temperature:

The annealing temperature depends upon the primers’ sequences and is usually 2-5°C below the lower Tm of the pair. We recommend starting with a 55°C annealing temperature and if necessary to run a temperature gradient to determine the optimal annealing temperature.

Extension temperature and time:

The extension step should be performed at 72°C. The extension time depends on the length and type of the product to be amplified. Owing to the high processivity of FlashPrime , an extension time of 15s/kb can be used for low-complexity templates such as lambda genomic DNA or plasmid DNA. For templates with complex secondary structure such as

human genomic DNA, we recommend using 30s/kb. Since the length of the amplicon is also an important parameter, we also recommend using 15s/kb for amplicons <5kb. For longer amplification, increase up to 1 min/kb the extension time.

Standard Protocol

The following protocol given here is for a standard 50μl reaction and can be used as a starting point for reaction optimization. The following reagents, once thawed, are kept on ice and mixed as described in a nuclease-free microcentrifuge tube.

PCR reaction setup:

5x Hi-Fi Reaction Buffer    10μl

100mM dNTP Mix              0.5μl

Template                            as required

Primers 20μM each           1μl

Enzyme                             1μl

DMSO (if required)            (1.5 μl)

Water (ddH2O)                   up to 50μl

Due to FlashPrime DNA polymerase's inherent 3'-5' exonuclease activity, the enzyme must be added last to a reaction in order to prevent primer degradation.

Step                              Temperature                  Time                                            Repeat

Initial denaturation           98°C                            2 min                                                1

Denaturation                    98°C                            30 s                                               25-35

Annealing                        50-68°C                       30 s                                               25-35

Extension                        72°C                            15-30s /kb                                      25-35

Final extension                72°C                            4-10 min                                            1

Storage and stability:

The FlashPrimer DNA polymerase is shipped on Dry/Blue Ice. All components should be stored at -20°C upon receipt. Excessive freeze/thawing is not recommended. When stored under optimum conditions, the reagents are stable for a minimum of 12 months from date of purchase.

Safety precautions:

Harmful if swallowed. Irritating to eyes, respiratory system and skin. Please refer to the material safety data sheet for further information.

Notes

This product insert is a declaration of analysis at the time of manufacture.

For Research Use Only.

Troubleshooting Guide

No PCR product

-------Missing component - Check mix set-up and volumes used

-------Defective component - Check the aspect and the concentrations of all components as well as the storage conditions. If necessary test each component individually in control reactions

-------Enzyme concentration too low -Increase enzyme quantity to up to 2U/50μl reaction

-------Cycling conditions not optimal - Decrease the annealing temperature

- Run a temperature gradient to determine the optimal annealing temperature

- Increase the extension time, especially if amplifying long target

- Increase the number of cycles

-------Not enough Mg2+ - Increase the MgCl2 concentration in 0.5mM increments

-------Difficult template

- Increase the denaturation time

- Add DMSO. We recommend starting with 3% final concentration and if necessary                    increasing it up to 10%

Smearing or Non Specific products

-------Excessive cycling - Decrease the number of cycles

-------Extension time too long - Decrease the extension time

-------Annealing temperature too low - Increase the annealing temperature

- Titrate DMSO from 3% to 10% (final concentration)

-------Too much enzyme - Decrease enzyme concentration

-------Primer concentration too high - Decrease primer concentration

-------Contamination - Replace each components in order to find the possible source of contamination

- Set-up the PCR reaction and analyze the PCR product in separated areas.

Warranty

These products are warranted to perform as described in their labeling and in BioPioneer literature when used in accordance with their instructions. THERE ARE NO WARRANTIES THAT EXTEND BEYOND THIS EXPRESSED WARRANTY AND BIOPIONEER DISCLAIMS ANY IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR PARTICULAR PURPOSE. BioPioneer’s sole obligation and purchaser’s exclusive remedy for breach of this warranty shall be, at the option of BioPioneer Inc., to repair or replace the products. In no event shall BioPioneer Inc.  be liable for any proximate, incidental or consequential damages in connection with the products.