- Product Information

BP-10 Spin Column DNA Gel Extraction minipreps kit

| Components | DGE-100, 100 Preps |
| --- | --- |
| Binding Buffer II Wash Solution Elution Buffer BP-10 Column 2.0ml Collection tube | 2X30ml 24ml 10ml 100 100 |

- Before use, add 96ml of 96-100% ethanol to 24ml Wash Solution for DGE-100.  For other volumes of wash solution, simply add enough ethanol to make a 4:1 ratio (volume of added ethanol: volume of Wash Solution = 4:1).

- Elution Buffer is 2mM Tris-HCl pH 8.0~8.5. Although TE buffer pH 8.0 or water may be substituted, the resulting yields may be up to 20% lower.

Storage: The kit is stable for 12 months at room temperature. For longer storage, keep all contents of the kit cold.

Principle:

The BP-10 spin column purification kit utilizes a silica-gel based membrane which selectively adsorbs up to 20ug of DNA fragments in the presence of specialized binding buffers. Nucleotides, oligos (<40-      mer), enzymes, mineral oil and other impurities do not bind to the membrane and are washed away.      DNA fragments are then eluted off the column and can be used for downstream protocols without      further processing.

Application:

- Recovery of DNA fragments from reaction solutions.

- Recovery of DNA fragments from agarose gels.

Features:

- Quick and economical

- High yields (60-90%) of 60bp-40kb DNA fragments.

- Efficient removal of contaminants. Purified DNA can be used in any downstream application such as sequencing, labeling, restriction enzymatic digestion, ligation or transformation.

- No phenol / chloroform extraction or ethanol precipitation is required.

# Protocol for Agarose Gel:

- Excise the DNA fragment from the gel with a clean, sharp scalpel. Weigh the gel slice and transfer to a 1.5mL microfuge tube. Add 400ul of Binding Buffer II for each 100mg of gel weight (example – a gel slice weighing 125mg would require 500ul of Binding Buffer II). Incubate at 50-600C for 5-10 minutes and shake occasionally until agarose is completely dissolved. For high concentration gels (1.5-2.0%), 700ul of Binding Buffer II per 100mg of agarose gel are added.  Check the color of the solution. A yellow color indicates an optimal pH for DNA binding.  If the color of the solution is orange or violet, add 10 μl of 3 M sodium acetate, pH 5.2 solution and mix. The color of the mix will become yellow.

- Add the above mixture to the BP-10 column and let stand for 2 minutes.  Centrifuge at 8,000 x g for 1 minute and discard the flow-through in the tube.

- Add 500ul of Wash Solution, and centrifuge at 8,000 x g for one minute. Discard the solution in the tube.

- Repeat step 3. Centrifuge at 12,000 x g for an additional 1 minute to remove any residual Wash Buffer.

- Place the column in a clean 1.5ml microfuge tube.  Add 30-50ul of Elution Buffer to the center of the column and incubate at room temperature for 2 minutes. Centrifuge at 12,000 x g for 1 minute to elute DNA.

Note: It is extremely important to add the Elution Buffer to the center of the column. Incubating the column at higher temperatures (37º to 50ºC) may slightly increase the yield. Or prewarming the Elution Buffer at 55º to 80ºC may also slightly increase elution efficiency.

If a higher DNA concentration is desirable, 20ul (or less) of elution buffer can be used to elute the DNA. It is critical that the elution buffer be applied directly in the center of the column. (To recover maximum amount of DNA it is recommended to repeat the elution step.)

- Store the purified DNA at -20ºC.

# Protocol for DNA purification from enzymatic reactions:

- Transfer the volume of the reaction mixture to a 1.5ml microfuge tube and add 3 volumes of Binding Buffer II. Mix by inverting the tube a few times.

- Add the above mixture to the BP-10 column and let stand for 2 minutes. Centrifuge at 5000rpm for 1 minute and discard the flow-through in the tube.

- Add 500ul of Wash Solution, and centrifuge at 8,000rmp for 1 minute. Discard the solution in the tube.

- Repeat step 3. Spin at 1000rpm for an additional minute to remove any residual Wash buffer.

- Place the column in a clean 1.5ml microfuge tube. Add 30-50ul of Elution Buffer to the center of the column and incubate at room temperature for 2 minutes.

Note:   It is extremely important to add the Elution Buffer to the center of the column.  Incubating the column with the Elution Buffer at higher temperatures may slightly increase the yield, especially of fragments larger than 10,000bp. Prewarming the Elution Buffer at 55º to 80ºC may also slightly increase elution efficiency.  If a higher DNA concentration is desirable, 20ul (or less) of elution buffer may be used. It is recommended that the elution step be repeated to recover the maximum amount of DNA.

- Centrifuge at 1000rpm for 1 minute to elute the DNA.

- Store the purified DNA at -20ºC.