## Product Description

PreciGeneTM 2X HotStart Taq Master Mix with Loading Dye

Cat # MAT-3.1 (100 reactions)

Cat # MAT-3.1-5 (500 reactions)

Cat # MAT-3.1-10 (1000 reactions)

HotStart Taq  master mix contains recombinant  HotStart Taq DNA polymerase and is for routine primer extension.  It is efficient for amplification of template up to 5kb.  Each reaction contains 1U of HotStart Taq DNA polymerase, 1.5mM Mg++ and 400uM dNTPs.

Protocol:

The monoclonal antibody based HotStart requires no prolonged heating or denaturing step as do other hotstart methods.

For each reaction, take 12.5ul of the HotStart mastermix and add to it a total of 12.5ul of primer/template/ diH2O to make up a final reaction volume of 25ul.

See the details below:

For each reaction:

Components                       Volume (ul)

Supermix                            12.5 ul

Primers, Template, H20    12.5 ul

Template                X ul

Primer 1                 X ul

Primer 2                 X ul

H2O                       X ul                      _

Total                                     25 ul

Stability: It is stable for 8-10 months, if it is kept at –20oC.

Note: Don’t vortex the supermix, gently mix the super mix with the template, primers and water by pipetting up and down.

Warranty

These products are warranted to perform as described in their labeling and in BioPioneer literature when used in accordance with their instructions. THERE ARE NO WARRANTIES THAT EXTEND BEYOND THIS EXPRESSED WARRANTY AND BIOPIONEER DISCLAIMS ANY IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR PARTICULAR PURPOSE. BioPioneer’s sole obligation and purchaser’s exclusive remedy for breach of this warranty shall be, at the option of BioPioneer Inc., to repair or replace the products. In no event shall BioPioneer Inc.  be liable for any proximate, incidental or consequential damages in connection with the products.

For research only not for diagnostic and clinic use