PreciGeneTM HotStart Taq  DNA Polymerase

MAT-4-1 500U

MAT-4-2 1,000U

Concentration: 5 unit/ul

Shipping: On Dry/Blue Ice

Storage and stability:

The Hotstart DNA polymerase  is shipped on Dry/Blue Ice and can be stored for up to 12 months at -20°C, or up to

2 weeks at +4°C. Repeated freeze/thaw cycles should be avoided.

Safety precautions:

Harmful if swallowed. Irritating to eyes, respiratory system  and skin. Please refer to the material safety data sheet for further information.

Unit definition:

One unit is defined as the amount of enzyme that incorporates 10nmoles of dNTPs into acidinsoluble

form in 30 minutes at 72°C.

Description

BioPioneer HotStart Taq DNA polymerase offers all the benefits of DNA polymerase plus an antibody-based, built-in hot start. The Hotstart DNA polymerase contains HotStart Taq Monoclonal Antibody, which blocks polymerase activity prior to the onset of thermal cycling. This prevents primer-dimers and other artifacts resulting from low-level synthesis from nonspecifically primed sites. The antibodies are quickly inactivated by the increased temperature of thermal cycling. BioPioneer’s Hotstart DNA polymerase requires no prolonged heating or denaturing step as other hot-start methods do, making BioPioneer Hotstart polymerase more convenient and easy to use.

Components

500U           1000U

HotStart DNA Polymerase      1 x 100ul   2 x 100ul

10x Reaction Buffer w/ Mg++  1 x 1ml     2x 1ml

50mM MgCl2                           1x1ml       1x1ml

1000 Units

PCR reaction set-up:

Hotstart DNA polymerase  can be used for amplification of plasmid DNA directly from liquid cultures or from colonies on agar plates:

- From liquid culture: up to 8μl of the overnight culture can be directly added to the final reaction mix.

- From colonies: we recommend using a sterile tip to stab the colony and resuspend it directly in the 50μl reaction mix.

10x Taq Reaction Buffer          5 ul

Primers 20uM each                  1ul

100mMdNTPs                           0.5 ul

Template                                  as required

Water (ddH2O)                         up to 50ul

Hotstart DNA Polymerase     0.2 – 1ul

PCR Cycling Condition

Step                       Temperature  Time      Cycles

Initial denaturation 95°C                5min          1

Denaturation           95°C                30s            25-35

Annealing                55°C               30s            25-35

Extension                72°C                1min/kb    25-35

Primers: Forward and reverse primers are generally used at the final concentration of 0.2-0.6 uM each. As a starting point, we recommend using 0.4uM final concentration (i.e. 20pmol of each primer per 50ul reaction volume). Too high a primer concentration can reduce the specificity of priming, resulting in non-specific products.

Template: The amount of template in the reaction depends mainly on the type of DNA used. For templates with low structural complexity, such as plasmid DNA, we recommend using 50pg-10ng DNA per 50ul reaction volume. For eukaryotic genomic DNA, we recommend a starting amount of 200ng DNA per 50ul reaction, this can be varied between 5ng-500ng. It is important to avoid, using template re-suspended in EDTA-containing solutions (e.g. TE buffer) since EDTA chelates free Mg2+.

Initial Denaturation: The initial denaturation step is required to activate the enzyme and fully melt the template. We recommend 5 minute of initial denaturation at 95°C.

Denaturation: Our protocol recommends a20S- 30s cycling denaturation step at 95°C.

Annealing temperature and time: The optimal annealing temperature is dependent upon the primer sequences and is usually 2-5°C below the lower Tm of the pair. We recommend starting with a 55°C annealing temperature and, if necessary, to run a temperature gradient to determine the optimal annealing temperature.

Extension temperature and time: The extension step should be performed at 72°C. The extension time depends on the length of the amplicon and the complexity of

the template, we suggest 1min per kb.

Warranty

These products are warranted to perform as described in their labeling and in BioPioneer literature when used in accordance with their instructions. THERE ARE NO WARRANTIES THAT EXTEND BEYOND THIS EXPRESSED WARRANTY AND BIOPIONEER DISCLAIMS ANY IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR PARTICULAR PURPOSE. BioPioneer’s sole obligation and purchaser’s exclusive remedy for breach of this warranty shall be, at the option of BioPioneer Inc., to repair or replace the products. In no event shall BioPioneer Inc.  be liable for any proximate, incidental or consequential damages in connection with the products.

Notes:

This product insert is a declaration of analysis at the time of manufacture.

Research Use Only.