MDL-1000, 100 applications 0.25-10KB DNA Ladder Marker, Ready To Use 13 DNA fragments: 0.25kb, 0.5kb, 0.75kb, 1 kb, 1.5kb, 2 kb, 2.5kb, 3 kb, 4 kb, 5 kb, 6kb, 8kb, and 10kb.

DNA 1 KB ladder is consisted of the 13 DNA fragments. 0.25kb to 10kb DNA ladder, 0.25kb, 0.5kb, 0.75kb, 1 kb, 1.5kb, 2kb, 2.5kb, 3kb, 4kb, 5 kb, 6 kb, 8kb, 10kb, 100 loadings The intensity of the 1kb and 3kb band has been increased to yield an internal reference indicator. Concentration: 500 ng / 5 l Recommended loading volume: 5 l Storage Buffer: 1XTE (10mM Tris-Hcl, pH8.0, 1mM EDTA) 6x Loading Buffer: 30% Glycerol, 0.12% bromophenol blue, 0.12% xylene cyanol Storage -200 C