#### ONE STEP RNA REAGENT

A Reagent for Total RNA Isolation

C0026	100ml

WARNING:  Toxic in contact with skin and if swallowed, causes burns. After contacting with skin, wash immediately with plenty of detergent and water. If you feel unwell, seek medical advice (show label where possible). Phenol and Other Components

Storage Conditions: 2~8°C

ONE STEP-RNA Reagent has demonstrated stability of 12 months when stored at RT.  However, we recommend storage at 2~8°C for optimal performance.

## Description:

- ONE STEP-RNA Reagent is a ready-to-use reagent for the isolation of total RNA from cells and tissues. The reagent, a mono-phasic solution of phenol and guanidine isothiocyanate, is an improvement to the single-step RNA isolation method developed by Chomczynski and Sacchi. During sample homogenization or lysis, ONE STEP-RNA Reagent maintains the integrity of the RNA, while disrupting cells and dissolving cell components. Addition of chloroform followed by centrifugation, separates the solution into an aqueous phase and an organic phase. RNA remains exclusively in the aqueous phase. After transfer of the aqueous phase, the RNA is recovered by precipitation with isopropyl alcohol. After removal of the aqueous phase, the DNA and proteins in the sample can be recovered by sequential precipitation. Precipitation with ethanol yields DNA from the interphase, and an additional precipitation with isopropyl alcohol yields proteins from the organic phase. Co-purification of the DNA may be useful for normalizing RNA yields from sample to sample.

- This technique performs well with small quantities of tissue (50~100 mg) and cells (5×106), and large quantities of tissue (1 g) and cells (>107), of human, animal, plant, or bacterial origin. The simplicity of the ONE STEP-RNA Reagent method allows simultaneous processing of a large number of samples. The entire procedure can be completed in one hour. Total RNA isolated by ONE STEP-RNA Reagent is free of protein and DNA contamination. It can be used for Northern blot analysis, dot blot hybridization, poly (A)+ selection, in vitro translation, RNase protection assay, and molecular cloning. For use in the polymerase chain reaction (PCR), treatment of the isolated RNA with amplification grade DNase I is recommended when the two primers lie within a single exon.

- ONE STEP-RNA Reagent facilitates isolation of a variety of RNA species of large or small molecular size. For example, RNA isolated from rat liver, electrophoresed on an agarose gel, and stained with ethidium bromide, shows discrete bands of high molecular weight RNA between 7 kb and 15 kb in size, (composed of mRNA’s and hnRNA’s) two predominant ribosomal RNA bands at ~5 kb (28S) and at ~2 kb (18S), and low molecular weight RNA between 0.1 and 0.3 kb (tRNA, 5S). The isolated RNA has an A260/280 ratio of 1.6~1.8 when  diluted into distilled water. The expected yield of RNA per mg of tissue is: liver and spleen, 6~10g; kidney, 3~4g; skeletal muscles and brain, 1~5g; placenta, 1~4g. The expected yield of RNA from 1×10 6 Cultured cells is: epithelial cells, 8~15g; fibroblasts, 5~7×g.

Reagents required, but not supplied:

- Chloroform

- Isopropyl alcohol

- 75% Ethanol (in DEPC-treated water)

- RNase-free water or 0.5% SDS solution [To prepare RNase-free water, draw water into RNase-free glass bottles. Add diethylpyrocarbonate (DEPC) to 0.01% (v/v). Let stand overnight and autoclave. The SDS solution must be prepared using DEPC-treated, autoclaved water.]

Precautions for Preventing RNase Contamination:

RNases can be introduced accidentally into the RNA preparation at any point in the isolation procedure through improper technique. Because RNase activity is difficult to inhibit, it is essential to prevent its introduction. The following guidelines should be observed when working with RNA.

•  Always wear disposable gloves. Skin often contains bacteria and molds that can contaminate an RNA preparation and be a source of RNases. Practice good microbiological technique to prevent microbial contamination.

•  Use sterile, disposable plasticware and automatic pipettes reserved for RNA work to prevent cross-contamination with RNases from shared equipment. For example, a laboratory that is using RNA probes will likely be using RNase A or T1 to reduce background on filters, and any nondisposable items (such as automatic pipettes) can be rich sources of RNases.

•  In the presence of ONE STEP-RNA Reagent. RNA is protected from RNase.. Downstream sample handling requires RNase-Free nondisposable glassware or plasticware. Glass items can be baked at 150°C for 4 hours, and plastic items can be soaked for 10 minutes in 0.5 M NaOH, rinsed thoroughly with water, and autoclaved.

## Other Precautions

•  Use of disposable tubes made of clear polypropylene is recommended when working with less than 2-ml volumes of ONE STEP-RNA Reagent.

•  For larger volumes, use glass (Corex) or polypropylene tubes, and test to be sure that the tubes can withstand 12,000g with ONE STEP-RNA Reagent and chloroform. Do not use tubes that leak or crack.

•  Carefully equilibrate the weights of the tubes prior to centrifugation.

•  Glass tubes must be sealed with parafilm topped with a layer of foil, and polypropylene tubes must be capped before centrifugation.

RNA ISOLATION NOTES:

- Isolation of RNA from small quantities of tissue (1~10 mg) or Cell (102~104):

Samples: Add 800µl of ONE STEP-RNA Reagent to the tissue or cells. Add 200µg glycogen directly to the ONE STEP-RNA Reagent  (final glycogen concentration in ONE STEP-RNA Reagent  is 250µg /ml). To reduce viscosity, shear the genomic DNA with 2 passes through a 26 guage needle prior to chloroform addition. The glycogen remains in the aqueous phase and is co-precipitated with the RNA. It does not inhibit first-strand synthesis at concentrations up to 4 mg/ml and does not inhibit PCR.

- After homogenization and before addition of chloroform, samples can be stored at -60 ~ -70°C for at least one month. The RNA precipitate (step 4, RNA WASH) can be stored in 75% ethanol at 2~8°C for at least one week, or at least one year at –5 ~ -20°C.

- Bench-top centrifuges that can attain a maximum of 2,600×g are suitable for use in these protocols if the centrifugation time is increased to 30~60 minutes in steps 2 and 3.

INSTRUCTIONS FOR RNA ISOLATION:

CAUTION: When working with ONE STEP-RNA Reagent  use gloves and eye protection (shield, safety goggles). Avoid contact with skin or clothing. Use in a chemical fume hood. Avoid breathing vapor.

Note: Unless otherwise stated, the procedure is carried out at 15~30°C, and reagents are at 15~30°C. See page 2 for reagents required but not supplied, and for precautions.

1. HOMOGENIZATION (see notes 1-3)

a. Tissues  Homogenize tissue samples in 1ml of ONE STEP-RNA Reagent  per 50~100 mg of tissue using a glass-Teflon or power homogenizer (Polytron, or Tekmar's TISSUMIZER or equivalent). The sample volume should not exceed 10% of the volume of ONE STEP-RNA Reagent  used for homogenization.

b. Cells Grown in Monolayer  Lyse cells directly in a culture dish by adding 1ml of ONE STEP-RNA Reagent to a 3.5 cm diameter dish, and passing the cell lysate several times through a pipette. The amount of ONE STEP-RNA Reagent  added is based on the area of the culture dish (1ml per 10 cm2 ) and not on the number of cells present. An insufficient amount of ONE STEP-RNA Reagent  may result in contamination of the isolated RNA with DNA.

c. Cells Grown in Suspension  Pellet cells by centrifugation. Lyse cells in ONE STEP-RNA Reagent by repetitive pipetting. Use 1ml of the reagent per 5~10106 of animal, plant or yeast cells, or per 1107 bacterial cells. Washing cells before addition of ONE STEP-RNA Reagent  should be avoided as this increases the possibility of mRNA degradation. Disruption of some yeast and bacterial cells may require the use of a homogenizer.

2. OPTIONAL: An additional isolation step may be required for samples with high content of proteins, fat, polysaccharides or extracellular material such as muscles, fat tissue, and tuberous parts of plants. Following homogenization, remove insoluble material from the homogenate by centrifugation at 12,000g for 10 minutes at 2~8°C. The resulting pellet contains extracellular membranes, polysaccharides, and high molecular weight DNA, while the supernatant contains RNA. In samples from fat tissue, an excess of fat collects as a top layer which should be removed. In each case, transfer the cleared homogenate solution to a fresh tube and proceed with chloroform addition and phase separation as described.

3. PHASE SEPARATION

Incubate the homogenized samples for 5 minutes at 15~30°C to permit the complete dissociation of nucleoprotein complexes. Add 0.2ml of chloroform per 1ml of ONE STEP-RNA Reagent . Cap sample tubes securely. Shake tubes vigorously by hand for 15 seconds and incubate them at 15~30°C for 2~3 minutes. Centrifuge the samples at no more than 12,000g for 15 minutes at 2~8°C. Following centrifugation, the mixture separates into a lower, phenol-chloroform phase, a cloudy white interphase, and a colorless upper aqueous phase. RNA remains exclusively in the aqueous phase. The volume of the aqueous phase is about 60% of the volume of ONE STEP-RNA Reagent used for homogenization.

4. RNA PRECIPITATION

Transfer the aqueous phase to a fresh tube, and save the organic phase if isolation of DNA or protein is desired. Precipitate the RNA from the aqueous phase by mixing with isopropyl alcohol. Use 0.5ml of isopropyl alcohol per 1ml of ONE STEP-RNA Reagent  used for the initial homogenization. Incubate samples at 15~30°C for 10 minutes and centrifuge at no more than 12,000g for 10 minutes at 2~8°C. The RNA precipitate, often invisible before centrifugation, forms a gel-like pellet on the side and bottom of the tube.

5. RNA WASH

Remove the supernatant. Wash the RNA pellet once with 75% ethanol, adding at least 1ml of 75% ethanol per 1ml ONE STEP-RNA Reagent  used for the initial homogenization. Mix the sample by vortexing and centrifuge at no more than 7,500g for 5 minutes at 2~8°C.

6. REDISSOLVING THE RNA

At the end of the procedure, briefly dry the RNA pellet (air-dry or vacuum-dry for 5~10 minutes). Do not dry the RNA by centrifugation under vacuum. It is important not to let the RNA pellet dry completely as this will greatly decrease its solubility. Partially dissolved RNA samples have an A260/280 ratio<1.6. Dissolve RNA in RNase-free water or 0.5% SDS solution by passing the solution a few times through a pipette tip, and incubating for 10 minutes at 55 ~

60°C (Avoid SDS when RNA will be used in subsequent enzymatic reactions.) RNA can also be redissolved in 100% formamide (deionized) and stored at -70°C [See Bracete, et.al. (1998) Focus 20:3 p 82)].

.