# Endo-Free BP-200 Spin Column Plasmid DNA MIdi-preps Kit

# Kit Contents

| Components | PMEP-10E 10 Medi-Preps | PMEP-20E, 20 Medi-Preps |
| --- | --- | --- |
| Solution I Solution II Solution III ER solution Wash Solution Elution Buffer RNase A (10 mg/ml) BP-200 Column Protocol | 2x12 ml 2x22 ml 2x40 ml 26ml 24 ml 10 ml 2x240ul 10 1 | 4x12 ml 4x22 ml 4x40 ml 52ml 48 ml 2x10 ml 4x240ul 20 1 |

- Solution II may form a precipitate upon storage. If necessary, dissolve the precipitate by warming at 370C.

- Before use, add 96 ml of 100% of ethanol to 24 ml Wash Solution for PMEP-10, add 192 ml of 100% ethanol to 48ml Wash Solution for PMEP-20. For other volumes of wash solution, simply add enough ethanol to make a 4:1 ration (volume of added ethanol: volume of Wash Solution = 4:1).

- Elution Buffer is 2.0 mM Tris-HCl pH 8.0~8.5. Although TE buffer pH 8.0 or water can be used, yield is generally 20% lower.

- Before use, add 240ul boiled RNase A to 12ml Solution I. Solution I should be stored at 4oC for frequent use, or stored at -20 oC for longer period use.

Storage: With the exception of the RNase A, the kit may be stored at room temperature. The RNase A should be stored at 4ºC. The kit is stable for 12 months at room temperature. For longer storage, keep all contents cold.

# Principle:

This kit provides a simple and efficient method for purification of up to 200 ug of plasmid DNA. Bacterial cultures are lysed and the lysates are cleared by routine methods (Solution I, II, III). Plasmid DNA from the cleared lysates is selectively adsorbed in BP-200 spin column and other impurities such as proteins, salts, oligos (<40-mer) and nucleotides are washed away. Pure DNA is eluted in low-salt buffer or water. Purified Plasmid DNA can be used for any downstream applications such as sequencing, restriction reactions, labeling, transformation, PCR and Southern-blotting.

# Features:

- Fast. Entire procedure takes 30-40 minutes.

- Preparation of high quality plasmid DNA from culture. Purified DNA can be used in any downstream applications such as sequencing, transformation, restriction enzymatic and digestion.

- High yields (80-90%) and Reproducible.

- No phenol / chloroform extraction; No CsCl centrifugation; No ethanol precipitation

# Procedure for Purification of Plasmid DNA

- Add 100 ml overnight culture to a appropriate centrifuge tube and centrifuge at 6,000 rpm for 10 minutes. Drain the liquid completely.

- Add 2 ml of Solution I to the pellet, mix gently and keep for 2 minute.

- Add 4 ml of Solution II to the mixture, mix gently by inverting the tube 4-6 times and then keep at RT for 2 minutes.

Note: To prevent contamination from genomic DNA, do not vortex.

- Add 7 ml of Solution III, and mix gently. Incubate at RT for 2 minutes.

- Spin at 10,000 rpm for 10 minutes.

- Endotoxin extraction: Add 1.3 ml of ER Solution to above cleared lysate and vortex at highest speed 5 seconds. Note:  ER solution is a viscous solution.  To pipette ER solution, draw up and dispense slowly.  Then incubate at -20C for 5 minutes followed by heating at 65C for 10 minutes. Then centrifuge tubes for 10 minutes at 2500 x g. Note: After extraction, phase separation will result in a colorless top phase and bottom phase).

- Collect the top aqueous phase, being sure to avoid the bottom phase, as this contains concentrated endotoxin. Transfer the top aqueous phase to a new 50 ml tube.

- Repeat step 6 extraction procedure.  Transfer the colorless upper phase (lysate) to a new 50ml tube and centrifuge for 10 minutes at 2500 x g.  Check for a small pellet at the bottom of the tube.  If present, transfer the clear supernatant without disturbing the pellet to another 50 ml tube (ensures complete endotoxin removal).

- Place BP-200 spin column into a 50 ml collection tube. Transfer the above supernatant (step 8) to the column, Stand at RT for 5 minutes. Spin at 6000 rpm for 3-5 minutes.

- Discard the flow-through in the tube. Add 5 ml of Wash Solution to the column, and spin at 8000 rpm for 3-5 minutes.

- Repeat wash procedure in step 10.

- Discard the flow-through in the collection tube. Spin at 8000 rpm for additional 5 minutes to remove residual Wash Solution.

- Transfer the column to a clean 50 ml centrifuge tube. Add 500ul of Elution Buffer into the center part of the membrane of the column and incubate at 37 - 50 oC for 2 minutes. Spin at 8000 rpm for 2 minutes.  Purified plasmid DNA can immediately be used or be stored at –20 oC freezer.

- (Optional) To obtain high quality plasmid DNA for transfection of primary cell line, add 1/10 of NaAc and equal volume of isoproponol to precipitate above DNA.

Note: It is important to add the Elution Buffer into the center part of BP-200 spin column. Elution Buffer at 55-80 oC could increase elution efficiency. Two times elution is recommended.