# BP-200 Spin Column Plasmid DNA MIdi-preps Kit

# Kit Contents

| Components | PMEP-10 10 Medi-Preps | PMEP-20, 20 Medi-Preps |
| --- | --- | --- |
| Solution I Solution II Solution III Wash Solution Elution Buffer RNase A (10 mg/ml) BP-200 Column Protocol | 25 ml 50 ml 80 ml 24 ml 10 ml 0.5ml 10 1 | 50 ml 100 ml 2x80 ml 48 ml 2x10 ml 1 ml 20 1 |

- Solution II may form a precipitate upon storage. If necessary, dissolve the precipitate by warming at 370C.

- Before use, add 96 ml of 100% of ethanol to 24 ml Wash Solution for PMEP-10, add 192 ml of 100% ethanol to 48ml Wash Solution for PMEP-20. For other volumes of wash solution, simply add enough ethanol to make a 4:1 ration (volume of added ethanol: volume of Wash Solution = 4:1).

- Elution Buffer is 2.0 mM Tris-HCl pH 8.0~8.5. Although TE buffer pH 8.0 or water can be used, yield is generally 20% lower.

- Before use, add boiled RNase A to Solution I. Solution I should be stored at 4oC for frequent use ,or stored at -20 oC for longer period use.

Storage: With the exception of the RNase A, the kit may be stored at room temperature. The RNase A should be stored at 4ºC. The kit is stable for 12 months at room temperature. For longer storage, keep all contents cold.

# Principle:

This kit provides a simple and efficient method for purification of up to 200 ug of plasmid DNA. Bacterial cultures are lysed and the lysates are cleared by routine methods (Solution I, II, III). Plasmid DNA from the cleared lysates is selectively adsorbed in BP-200 spin column and other impurities such as proteins, salts, oligos (<40-mer) and nucleotides are washed away. Pure DNA is eluted in low-salt buffer or water. Purified Plasmid DNA can be used for any downstream applications such as sequencing, restriction reactions, labeling, transformation, PCR and Southern-blotting.

# Features:

- Fast. Entire procedure takes 30-40 minutes.

- Preparation of high quality plasmid DNA from culture. Purified DNA can be used in any downstream applications such as sequencing, transformation, restriction enzymatic and digestion.

- High yields (80-90%) and Reproducible.

- No phenol / chloroform extraction; No CsCl centrifugation; No ethanol precipitation

# Procedure for Purification of Plasmid DNA

- Add 100 ml overnight culture to a appropriate centrifuge tube and centrifuge at 6,000 rpm for 10 minutes. Drain the liquid completely.

- Add 2 ml of Solution I to the pellet, mix gently and keep for 2 minute.

- Add 4 ml of Solution II to the mixture, mix gently by inverting the tube 4-6 times and then keep at RT for 2 minutes.

Note: To prevent contamination from genomic DNA, do not vortex.

- Add 7 ml of Solution III, and mix gently. Incubate at RT for 2 minutes.

- Spin at 10,000 rpm for 10 minutes.

- Place BP-200 spin column into a 50 ml collection tube. Transfer the above supernatant (step 5) to the column, Stand at RT for 5 minutes. Spin at 6000 rpm for 3-5 minutes.

- Discard the flow-through in the tube. Add 5 ml of Wash Solution to the column, and spin at 8000 rpm for 3-5 minutes.

- Repeat wash procedure in step 7.

- Discard the flow-through in the collection tube. Spin at 8000 rpm for additional 5 minutes to remove residual Wash Solution.

- Transfer the column to a clean 50 ml centrifuge tube. Add 500ul of Elution Buffer into the center part of the membrane of the column and incubate at 37 - 50 oC for 2 minutes. Spin at 8000 rpm for 2 minutes.  Purified plasmid DNA can immediately be used or be stored at –20 oC freezer.

- (Optional) To obtain high  quality plasmid DNA for  transfection of primary cell line, add 1/10 of NaAc and equal volume of isoproponol to precipitate above DNA.

Note: It is important to add the Elution Buffer into the center part of BP-200 spin column. Elution Buffer at 55-80 oC could increase elution efficiency. Two times elution is recommended.