Product information

Endo-free BP-10 Spin Column Plasmid DNA Miniprep Kit

Catalog Number: PMIP-100E

Introduction

Endotoxins, also known as lipopolysaccharides, are cell membrane components of Gram-negative

bacteria such as E. coli. Endotoxins are released during the lysis step of plasmid purification and

significantly reduce transfection efficiencies in endotoxin-sensitive cell lines

The Endotoxin-Free Mini Plasmid Prep Kit integrates an efficient endotoxin removal step into the plasmid purification procedure. No additional affinity columns to remove lipopolysaccharides are required. Cells are lysed with an alkaline lysis reagents. Endotoxins are selectively precipitated in a specializd buffer. The plasmid DNA is bound to a silica spin filter, washed once, and released into endotoxin-free water . The plasmid DNA is concentrated enough to be used directly in transfection experiments.

| Components | PMIP-100E , 100 Preps |
| --- | --- |
| RNase A(10mg/ml) Blue indicator Solution I Solution II Solution III ER solution Wash Solution Elution Buffer BP-10 Column 2.0 ml Collection Tube Protocol | 240µl 240ul 12ml 22ml 40ml 7ml 24ml 10ml 100 100 1 |

- Before use, add the RNase A Solution to the bottle containing Solution I and mix well.  Solution I with RNase should be stored at 4ºC for frequent use and at -20ºC for infrequent use.

- Solution II may form a precipitate upon storage. If necessary, dissolve the precipitate by warming the solution at 37ºC.

- Before use, add 96ml of 96-100% ethanol to 24ml Wash Solution for PMIP-100. For other volumes of wash solution, simply add enough ethanol to make a 4:1 ratio (volume of added ethanol: volume of Wash Solution = 4:1).

- Elution Buffer is 2.0 mM Tris-HCl pH 8.0~8.5. Although TE buffer pH 8.0 or water may be substituted, the resulting yields may be up to 20% lower.

Storage: With the exception of the RNase A, the kit may be stored at room temperature.  The RNase A should be stored at 4ºC.  The kit is stable for 12 months at room temperature.  For longer storage, keep all contents cold.

Applications:

- Endo-free Plasmid DNA purification

Features:

- Fast. Entire procedure takes  less than an hour.

- Preparation of high quality plasmid DNA from bacterial cultures. Purified DNA can be used in any downstream applications such as transfection, sequencing, PCR, transformation, restriction enzymatic digestion, and ligation.

- High yields (>80%)

- No phenol / chloroform extraction or ethanol precipitation is required.

# Protocol for Purification of Plasmid DNA

- Add 1.5ml overnight culture to a 1.5ml microfuge tube and centrifuge at 8,000rpm for 1 minute. Drain the liquid completely.  For low copy number of plasmid, see the protocol on the following page.

- Optional, add blue indicator to solution I at ratio (V/V) 1:50.

- Add 100ul of Solution I to the pellet, mix gently，and keep for 2 minutes.

- Add 200ul of Solution II to the mixture, mix gently by inverting the tube 4-6 times and then keep at room temperature for 1 minute. To prevent contamination from genomic DNA, do not vortex. If the blue indicator is added into solution I,  the color of the mixture should turn blue after addition of solution II.

- Add 350ul of Solution III, and mix gently. Incubate at room temperature for 2 minute. If the blue indicator is used, the color of the mixture should turn into colorless after addition of solution II.

- Centrifuge at 14,000rpm for 5 minutes. Transfer all of the clear liquid supernatant to a new tube (avoiding the white precipitate).

- Add 65ul of ER solution ( Endotoxin Removal Solution) to lysate and vortex at highest speed (vigorously) until homogeneous. Note: Solution ER is a viscous solution. To pipette ER solution,  draw up and dispense slowly. Then incubate at -20oC for 5 minutes followed by heating at 65oC for 10 minutes then centrifuge tubes for 5 minutes at 15,000 x g. The solution will become turbid after the addition of ER solution. After centrifugation, the top aqueous phase will be clear and the bottom phase will be viscous.

- Collect the top aqueous phase, make sure to avoid the bottom phase as this contains concentrated endotoxin.

- Transfer the aqueous phase to a new 2 ml Collection Tube, while avoiding the bottom phase.

- Repeat the extraction procedure one more time. Transfer the colorless upper phase (lysate) to another tube and centrifuge for 5 minutes at 15000 x g. Check for a small pellet at the bottom of the tube.

- Transfer the above supernatant (step 5) to the BP-10 column. Centrifuge at 10,000rpm for 30 seconds.

- Discard the flow-through in the tube. Add 500ul of Wash Solution to the column, and centrifuge at 10,000rpm for 1 minute.

- Repeat the wash procedure .

- Discard the flow-through in the collection tube. Centrifuge at 10,000rpm for an additional 1 minute to remove any residual Wash Solution.

- Transfer the column to a clean 1.5ml microfuge tube. Add 50ul of endo-free H2O into the center part of the column and incubate at room temperature for 1-2 minutes. Centrifuge at 10,000 rpm for 1 minutes.

- Store the purified DNA at -20ºC.

Note:  It is extremely important to add the Elution Buffer into the center part of the column. Incubating the column with the endo-free H2O at higher temperatures (37 to 50ºC) may slightly increase the yield especially of large (>10,000bp) DNA Plasmids. Prewarming the Endo-free H2O at 55 to 80ºC may also slightly increase elution efficiency.