# BP-500 Spin Column Endo-free Plasmid DNA Maxi-prep Kit

# Kit Contents

| Components | PMAP-10-E Maxi-Preps |
| --- | --- |
| Solution I Solution II Solution III Wash Solution Elution Buffer ER Buffer RNase A (10 mg/ml) BP-500 Column Protocol | 50 ml 90 ml 2x80 ml 24ml 10 ml 55ml 1 ml 10 1 |

- Solution II may form a precipitate upon storage. If necessary, dissolve the precipitate by warming at 370C.

- Before use, add 96 ml of 100% of ethanol to 24 ml Wash Solution for PMAP-10, add 192 ml of 100% ethanol to 48ml Wash Solution for PMAP-20. For other volumes of wash solution, simply add enough ethanol to make a 4:1 ration (volume of added ethanol: volume of Wash Solution = 4:1).

- Elution Buffer is 2.0 mM Tris-HCl pH 8.0~8.5. Although TE buffer pH 8.0 or water can be used, yield is generally 20% lower.

- Before use, add Boiled RNase A to Solution I(to each bottle of Solution I, add 1 vial of RNase A). Then Solution I should be stored at 4 oC for frequent use, or stored at -20 oC if not use for a long period.

Storage: With the exception of the RNase A, the kit may be stored at room temperature. The RNase A should be stored at 4ºC. The kit is stable for 12 months at room temperature. For longer storage, keep all contents cold.

# Principle:

This kit provides a simple and efficient method for purification of up to 500 ug of plasmid DNA Bacterial cultures are lysed and the lysates are cleared by routine methods (Solution I, II, III). Plasmid DNA from the cleared lysate are selectively adsorbed in BP-500 spin column and other impurities such as proteins, salts, oligos (<40-mer) and nucleotides are washed away. Pure DNA is eluted in low-salt buffer or water.

Purified plasmid DNA can be used for any downstream applications such as sequencing, restriction reactions, labeling, transformation, PCR and Southern-blotting.

# Features:

- Fast. Entire procedure takes 40-60 minutes.

- Preparation of high quality plasmid DNA from culture. Purified DNA can be used in any downstream applications such as sequencing, transformation, restriction enzymatic digestion, and transfections.

- High yields (80-90%) and Reproducible.

- No phenol / chloroform extraction; No CsCl centrifugation; No ethanol precipitation

# Procedure for Purification of Plasmid DNA

- Add 200-300 ml overnight culture to a appropriate centrifuge tube and centrifuge at 6,000 rpm for 10 minutes. Drain the liquid completely.

- Add 4 ml of Solution I to the pellet, mix gently and keep on ice for 2 minute.

- Add 8 ml of Solution II to the mixture, mix gently by inverting the tube 4-6 times and then keep at RT for 2 minutes.

Note: To prevent contamination from genomic DNA, do not vortex.

- Add 14 ml of Solution III, and mix gently. Incubate at RT for 2 minutes.

- Spin at 10,000 rpm for 10 minutes. Transfer the cleared lysate into a fresh 50ml centrifuge tubes.

- Endotoxin extraction: Add 2.6 ml of ER Solution to above  cleared lysate and vortex at highest speed 5 seconds. Note:  ER solution is a viscous solution.  To pipette ER solution draw up and dispense slowly.  Then incubate at -20(C for 5 minutes followed by heating at 65(C for 10 minutes. Then centrifuge tubes for 10 minutes at 2500 x g. Note: After extraction, phase separation will result in a colorless top phase and bottom phase).

- Collect the top aqueous phase, being sure to avoid the bottom phase, as this contains concentrated endotoxin. Transfer the top aqueous phase to a new 50 ml tube.

- Repeat step7 extraction procedure.  Transfer the colorless upper phase (lysate) to a new 50ml tube and centrifuge for 10 minutes at 2500 x g.  Check for a small pellet at the bottom of the tube.  If present, transfer the clear supernatant without disturbing the pellet to another 50 ml tube (ensures complete endotoxin removal).

- Place column into a 50 ml collection tube. Transfer half of above supernatant (step 5) to the column, Stand at RT for 5 minutes. Spin at 5000 rpm for 5 minutes.

- Discard the flow-through in the tube, put the spin column back to collection tube and add the other half of supernatant from step 5, and spin down at 5,000 for 5minutes.

- Discard the flow-through in the tube. Add 5 ml of Wash Solution to the column, and spin at 8000 rpm for 3-5 minutes.

- Repeat wash procedure in step 11.

- Discard the flow-through in the collection tube. Spin at 8000 rpm for additional 5 minutes to remove residual Wash Solution.

- Transfer the column to a clean 50 ml microfuge tube. Add 1ml of Elution Buffer into the center part of the membrane of the column and incubate at 37 - 50 oC for 2 minutes. Spin at 8000 rpm for 2 minutes. Store DNA at –20oC ℃ freezer. For higher recovery yield additional 2.5ml of Elution Buffer is added to the center part of the column and spin at 8000 rpm for 2 minutes. Measure OD260. Purified plasmid DNA  is ready to use, or store at freezer for long period use.

15. (Optional) To obtain high  quality plasmid DNA for  transfection of primary cell line, add 1/10 of NaAc and equal volume of isoproponol to precipitate above DNA.

Note: It is important to add the Elution Buffer into the center part. Pre-warm Elution Buffer at 55-80 oC. could increase elution efficiency. Two times elution is recommended.