Product information

BP-10 Spin Column Total RNA Minipreps Super Kit

###### Kit Contents

| ###### Components | RMIP-50 | RMIP-100 |
| --- | --- | --- |
| RLT Solutiona RW Solution RPE Solutionb DEPC-Water BP-10 Column 2.0-ml Collection Tube | 35 ml 30 ml 11 ml 2.5 ml 50 50 | 70 ml 60 ml 22 ml 5 ml 100 100 |

(a) RLT Solution should be kept at 2-8℃ after receiving and using.

(b) Before use, add 44 ml of 100% of ethanol to 11 ml RPE Solution for RMIP-50, add 88 ml of 100% ethanol to 22ml RPE Solution for RMIP-100. For other volumes of RPE Solution, simply add enough ethanol to make a 4:1 ration (volume of added ethanol: volume of RPE Solution = 4:1).

Storage: The kit is stable for 12 months at room temperature. For longer storage, keep all contents of the kit cold.

Principle:

This kit is designed for fast isolation of total RNA from bacteria, yeast, fungi, plant and animal tissues. The kit contains a membrane embedded in a spin column for binding up to 10 g of RNA. Nucleotides, proteins, salts, and other impurities do not bind to the BP-10 Column.

Applications:

1. Preparation of Total RNA from variable sources.

2. RT-PCR

3. Differential display

4. cDNA synthesis

5. PolyA + RNA selection

6. RNase/S1 nuclease protection

Features:

1. Preparation of High quality total RNA from animal cells or other sources. .

2. Rapid and Economical. Entire procedure takes about 20 minutes (Timing for preparation of samples is not included).

3. High yields

4. No phenol / chloroform extraction , no ethanol precipitation

Procedure for Isolation of Total RNA from Animal Cells.

1. Samples Preparation:

A. Harvest cells

(a) Cells grow in suspension: Determine the number of cells. Spin down the appropriate number of cells for 5 minutes at 1,200rpm in a RNase-free microtube. Carefully remove all supernatant by aspiration, and continue with Step 2 of the protocol

(b) Cells grown in a monolayer. Determine the number of cells. Cells grown in a monolayer in cell-culture vessels can be trypsinized. Aspirate medium, and wash cells with PBS. Aspirate PBS and add 0.1-0.25% trypsin in PBS. After cells detach from the dish or flask, add medium (containing serum to inactivate the trypsin), transfer cells to 1.5-ml RNase A-free microtube, spin by centrifugation at 1,200rpm for 5 minutes. Completely aspirate supernatant, and continue with Step 2 of the protocol.

Note: Incomplete removal of the cell-culture will inhibit lysis and dilute the lysate, affecting the conditions for binding RNA to BP-10 column. Both effects may reduce RNA yield.

B. Disrupt cells by addition of RLT Solution

(a) For pelleted cells Loosen cell pellet by flicking the tube and add RLT Solution

# (b) For monolayer cells. Add RLT Solution to monolayer cells (according to table below).Cellect cell lysate with a rubber policeman.Vortex.No cell clumps should be visible before proceeding to Step 3

| RLT Solution (l) | Number of pelleted cells | Dish diameter (cm) |
| --- | --- | --- |
| 350 600 | > 5 x 10 6 > 5 x10 6 to 1 x 10 7 | 6 6-10 |

# 2. Homogenize lysate: Two alternative methods may be used.

# (a) Homogenize for 30 seconds using a rotor-stator homogenizer.

# (b) Pass lysate at least 5 times through a 20-G (D=0.9mm) needle fitted to a syringe.

# 3. Add equal volume of 70% ethanol to the homogenized lysate, and mix well by pipetting. Do not centrifuge.

4. Place BP-10 column to 2.0-ml collection tube. Transfer above ethanol mixture to the column. Spin at 8,000rpm for 1 minute.

Note: precipitate may form after adding ethanol, but this will not affect the procedure.

5. Discard flow-through. Add 500ul RW Solution to the column and spin at 8,000rpm for 1 minute. Discard flow-through and place BP-10 column back to the same collection tube.

6. Add 500ul RPE Solution to the column, spin at 8,000rpm for 2 minute. Discard flow-through.

7.  Spin once more time at 10.000rpm for 1min to remove  residue of RPE Solution.

8. Transfer BP-10 column to a clean RNase-free 1.5 ml microtube. Add 30-50ul RNase-free water onto the center part of the column, incubate at 50℃ for 2 minutes. Spin down at 10,000rpm for 1 minute. RNA is ready for use or kept at – 70℃.

Procedure for Isolation of Total RNA from Bacteria

1 Samples Preparation: Harvest the appropriate number of cells (<1109) by centrifugation at 5000rpm for 3 minutes at 4℃.Discard supernatant ensuring all media is completely removed.

2. Add 100ul TE containing lysozyme and incubate. Gram-negative bacteria and Gram-positive bacteria require different amount of lysozyme and incubation periods.

| Bacteria | Concentration of Lysozyme in TE | Incubation Time |
| --- | --- | --- |
| Gram-negative | 400g / ml | 3-5 minutes |
| Gram-positive | 3 mg / ml | 5-10 minutes |

Invert several times during incubation.

3. Add 350ul of RLT Solution, mix vigorously. If insoluble material is visible, centrifuge for 2 minutes at 8,000rpm. Save the supernatant.

4. Add 260ul of 100% ethanol to the supernatant, mix gently. A precipitate may form by adding ethanol, but it will not affect the procedure.

5. Place an BP-10 column to 2.0-ml collection tube and transfer the mixture to the column. Spin at 8,000 rpm for 1 minute. Discard flow-through and place the column back to the same collection tube.

6. Add 500ul of RW Solution to the column, centrifuge at 8,000rpm for 2 minute, and discard flow-though.

7. Add 500ul of RPE Solution and spin at 8,000rpm for 2 minute. Discard the solution in the collection tube.

8. Spin once more at 10,000rpm for 1min to remove the residue of RPE Solution.

Note: Ensure ethanol is added to RPE Solution before use.

9. Transfer the column to a clean RNase-free 1.5 ml microtube; add 30-50ul of RNase-free H2O onto the center part of the membrane in the column. And incubate at 50℃ for 2 minutes and spin down at 10,000rpm for 1 minute. Keep RNA sample at –70℃.

##### Procedure for Isolation of Total RNA from Tissue, Plant Cells and Filamentous Fungi

1. Samples Preparation: Grind sample under liquid nitrogen to a fine powder using a mortar or pestle. Transfer the mixture of tissue powder and liquid nitrogen to 1.5 ml microtube and allow the liquid nitrogen to evaporate.Do not allow the sample to thaw. Continue immediately with Step 2.

2. Add 450ul of RLT Solution to a maximum of 100 mg of tissue powder and vortex vigorously. Incubation at 50℃ may help to disrupt tissue. For samples with high starch content, incubation is avoided to prevent swelling of starch material.

3. Add 250 ul of 100% ethanol to the mixture (step 2). Mix gently and spin briefly.

4. Place a BP-10 column to 2.0-ml collection tube and transfer the above supernatant  to the column. Spin at 8,000rpm for 1 minute. Discard flow-through and place the column back to the same collection tube.

5. Add 500ul of RW Solution to the column, centrifuge at 8,000rpm for 2 minute, and discard flow-though.

6. Add 500ul of RPE Solution and spin at 8,000rpm for 2 minute. Discard the solution in the collection tube.

7.  Spin once more at 10,000rpm for 1 min to remove the residue of RPE Solution.

Note:Ensure ethanol is added to RPE Solution before use.

8. Transfer the column to a clean RNase-free 1.5 ml microtube, add 30-50ul of RNase-free H2O onto the center part of the membrane in the column, and incubate at 50℃ for 2 minutes and spin down at 10,000rpm for 1 minute. Keep RNA sample at –70℃

Procedure for RNA Cleanup

This kit can also be used to clean up RNA, which are isolated by different methods or after enzymatic reactions.

1. Adjust sample to a volume of 100ul with RNase-free H2O, add 350ul of RLT Solution, mix well. Add 260ul of 100% ethanol, mix gently. A precipitate may form by adding ethanol, but this will not affect the procedure.

2. Place a BP-10 column in 2-ml collection tube and transfer the mixture solution (Step 1) to the column and spin at 4,000rpm for 1 minute, discard flow-through.

3. Add 500ul RW Solution to the column and centrifuge at 8,000rpm for 2 minute. Discard the solution in collection tube.

4. Add 500ul RPE Solution to the column and spin at 8,000rpm for 2 minute, discard the flow-through .

5. Spin once more at 10.000rpm for 1min to completely remove the residue of RPE Solution.

6. Add 30-50ul of RNase-free H2O onto the center part of the membrane of the column and centrifuge at 10,000rpm for 1 minute. Keep RNA sample at –70℃