BP-10 Spin Column Blood Genomic DNA Minipreps Kit

| Components |  | GDMIP-BL-100, 100 Preps |
| --- | --- | --- |
| TBP Buffer TBM Buffer TE (pH 8.0) Proteinase K Wash Solution Elution Buffer BP-10 Column 2.0-ml Collection Tube |  | 240ml 50 ml 30 ml 4mg 24ml 10 ml 100 100 |

- TBM Buffer may form a precipitate upon storage. If necessary, dissolve the precipitate by warming

at 37 oC.

- Before use, add 150ul or 300ul of sterilized water to the tube containing 2 mg or 4 mg of proteinase K., keep at -20oC.  Before use, add 48 ml of 100% ethanol to 12 ml Wash Solution  for GDMIP-50, add 96 ml of 100% ethanol to 24 ml Wash Solution for GDMIP-100.  For other volumes of wash solution, simply add enough ethanol to make a 4:1 ratio (volume of added ethanol: volume of Wash Solution = 4:1).

- Elution Buffer is 2.0 mM Tris-HCl pH 8.0~8.5. Although TE buffer pH 8.0 or water can be used, yield is generally 20% lower.

Storage: With the exception of the Proteinase K, the kit may be stored at room temperature.  The proteinase K should be stored at 4ºC.  The kit is stable for 12 months at room temperature.  For longer storage, keep all contents cold.

Principle

This BP-10 spin column mini-preps kit is designed for a fast isolation of genomic DNA from clinical samples such as fresh or frozen whole blood ( with common anticoagulatants such as citrate, EDTA, and heparin); , serum, bone, and other body fluids, and cell suspensions. 200ul-400ul per column of healthy whole blood sample is enough to obtain 30ug of pure genomic DNA. Nucleotides, proteins, salts, and other impurities do not bind to the BP-10 Column. Purified blood genomic DNA can be applied in most molecular biology experiments including restriction digestion, PCR, Southern-blotting etc.

Application:

- Extraction Genomic of DNA from whole blood and other body fluids.

Features:

- High quality of genomic DNA from blood and other clinical samples

- High yields and reproducible

- No phenol / chloroform extraction , no ethanol precipitation

Procedure for Extraction of Blood DNA:

- Harvest the appropriate 0.5 ml the whole blood in 2.0ml collection tube by centrifugation at 3000rpm for 3 minutes at 4℃. Discard supernatant.

- Add 0.8 ml TBP Buffer to the collection tube  vortex gently, then 3000rpm for 3 minutes, Discard supernatant.

- Repeat the step 2. If the blood pellet looks mauve，then continue next step.

- Add 0.5 ml TBM Buffer to the collection tube, intensity vortex. then add 3 ul Proteinase K, Then incubate at 55℃ for 30 minutes.

- If insoluble material is visible, centrifuge for 2 minutes at 5,000rpm. Save the supernatant to 2.0ml collection tube, then add 260ul absolute Ethanol.

- Apply the mixture to BP-10 column that is in a 2.0 ml collection tube. Spin at 8,000 rpm for 1 minute..  Discard the flow-through in the collection tube.

- Add 500 ml of Wash Solution, and spin at 8,000 rpm for 1 minute.

- Repeat washing step 7.

- Discard flow-through. Spin at 8,000rpm for an additional minute to remove residual amount of Wash Solution.

- Place the column into a clean 1.5 ml microfuge tube. Add 30-50 ul Elution Buffer into the center part of membrane in the column. Incubate the tube at 37 or 50℃ for 2 minutes. Incubate at 37 or 50℃ could increase recovery yield.

- Spin at 10,000 rpm for 1 minute to elute DNA from the column.

Measure DNA quantity by UV absorption at A260  (1.0 OD unit is equivalent of 50 ug). Assess genomic DNA quality by an analytical 0.7% agarose gel. Isolated genomic DNA should not contain RNA. Its length should be over 50 kb.